## Calc Sheet
Fan Duty Calculation Sheet
Project Information
| Engineer name: | UNPAID TRIAL VERSION
| Project Ref: | UNPAID TRIAL VERSION
| Date: | UNPAID TRIAL VERSION
| Fan Ref: | UNPAID TRIAL VERSION
| Index Run Ref: | UNPAID TRIAL VERSION | [28 empty] | Free Version- Purchase Premium Version at www.buildingservicesportal.com
| Duct Cross Section (Rectangular Only) |  |  | Spiral Duct |  |  |  |  | Insert Quantity of Each Fitting Type | [8 empty] | Advanced Variables to Change if Required |  |  |  |  | Advance Fluid Dynamics Calculations
Section Ref | Width (m) | Depth (m) | Calculated Equivilant Dia. (m) | Diameter (m) | Volumetric Flow Rate (m3/s) | Section Duct Length (m) | Area (m2) | Velocity (m/s) | Long radius 90 deg Elbow | Mitred 90 deg Elbow | Long radius 45 deg Elbow | Mitred 45 deg Elbow | Branches | Transition Sections | Bladed dampers (VCDs, FD, etc.) | Flexibe ductwork length (m) | Section Fitting Factor | Roughness-K (mm) | Roughness-K for flexible sections | Air Temp (Deg C) | Density (kg/m^3) | Viscosity (kg/m.s) | Dynamic Viscosity | Velocity (m/s) | RE | Lamda λ | Lamda for flexible section | Pressure Velocity Pv (Pa) | Pressure loss (Pa/m) | Pressure loss Flexible (Pa/m) | Section Duct Loss (Pa) | Section Fitting loss (Pa) | Additional Losses (Pa) | Notes | Total Pressure Loss (pa) | Cummulative Loss (pa)
1 |  |  | 0 |  |  |  | 0 | 0 | [8 empty] | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2 |  |  | 0 |  |  |  | 0 | 0 | [8 empty] | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
3 |  |  | 0 |  |  |  | 0 | 0 | [8 empty] | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
4 |  |  | 0 |  |  |  | 0 | 0 | [8 empty] | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
5 |  |  | 0 |  |  |  | 0 | 0 | [8 empty] | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
6 |  |  | 0 |  |  |  | 0 | 0 | [8 empty] | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
[34 empty] | Total Resistance (Pa) |  | 0
[34 empty] | Design Allowance (%) |  | 15
Calculated Fan Duty Required
[34 empty] | Flow rate | 0 | m3/s
[34 empty] | Resistance | 0 | Pa