## Sizing Sheet
Pump Duty Calculation Sheet
Project Information | [6 empty] | System Information
| Engineer Name: | Unpaid Version
| Project Ref: | Unpaid Version | [5 empty] | Pipework Material:
| Date: | Unpaid Version
| Pump Ref: | Unpaid Version | [5 empty] | System Type:
| Index Run Ref: | Unpaid Version
Get your company logo here with the Premium version
Section Ref | Nominal Pipe Size (mm) | Inside Diameter (mm) | Section Length (m) | Mass Flow Rate (kg / s) | Velociy (m/s) |  | Number of 90 deg Elbows | Number of Reducers | Number of Tees | Number of Isolation Valves | Number of Regulating Valves | Number of Check Valves | Number of Strainers | Density of Liquid (kg / m^3) | Roughness k (mm) | Viscosity, ν (m^2 / s) | Fitting factor | velocity (m/s) | Pressure Velocity Pv | Reynolds Number Re | lamda |  | Fitting Losses (pa) | Pressure loss per m (Pa / m) | Section Pipework loss (Pa) | Other Losses (pa) | Other Losses Notes |  | Total Pressure Loss (pa) | Cummulative Pressure Loss (pa)
1 |  | 0 |  |  | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  |  | 0 | 0
2 |  | 0 |  |  | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  |  | 0 | 0
3 |  | 0 |  |  | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  |  | 0 | 0
4 |  | 0 |  |  | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  |  | 0 | 0
5 |  | 0 |  |  | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  |  | 0 | 0
6 |  | 0 |  |  | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  |  | 0 | 0
[27 empty] | Total Resistance (Pa) |  |  | 0
[27 empty] | Design allowance (%) |  |  | 15
[27 empty] | Boosted Domestic Water Systems |  |  | #N/A
Height To Furtherest Outlet (m)
Outlet Pressure (Bar)
Calculated Pump Duty
[28 empty] | Flow Rate | 0 | kg/s
[28 empty] | Resistance | 0 | kPa
[10 empty] | 0 | 0
|  | Copper | Heating | [6 empty] | 0 | 0
|  | Steel | Chilled Water | [6 empty] | 0 | 0
|  | Plastic | Domestic Water | [6 empty] | 0 | 0
[10 empty] | 0 | 0
[10 empty] | 0 | 0
[10 empty] | 0 | 0
[10 empty] | 0 | 0
[10 empty] | 0 | 0
[10 empty] | 0 | 0
[10 empty] | 0 | 0
[10 empty] | 0 | 0
[10 empty] | 0 | 0
[10 empty] | 0 | 0
[10 empty] | 0 | 0
[10 empty] | 0 | 0
[10 empty] | 0 | 0
[10 empty] | 0 | 0
[10 empty] | 0 | 0
[10 empty] | 0 | 0
[10 empty] | 0 | 0
[10 empty] | 0 | 0
[10 empty] | 0 | 0
[10 empty] | 0 | 0
[6 empty] | Material | Steel | Copper | PlasticPBorPEX | PlasticABS | [7 empty] | Steel |  |  | Copper |  |  | ABS |  | Plastic (PB or PE-X) |  |  |  | N/A | Enter Below
[7 empty] | 10mm (3/8") | 15mm (1/2") | 10mm | 20mm | [13 empty] | 20mm |  |  |  | 15.4
[7 empty] | 15mm (1/2"). | 22mm (3/4") | 12mm | 25mm | [7 empty] | 10mm (3/8") | 12.4 |  | 6 (1/8") | 4.8 | 6.7 | 25mm |  | 10mm |  | 20.4
[7 empty] | 20mm (3/4") | 28mm (1") | 15mm | 32mm | [7 empty] | 15mm (1/2"). | 16.1 |  | 8 (1/4") | 6.8 | 8.7 | 32mm |  | 12mm |  | 28.2
[7 empty] | 25mm (1") | 35mm (1 1/4") | 18mm | 40mm | [7 empty] | 20mm (3/4") | 21.6 |  | 10 (3/8") | 8.8 | 11.3 | 40mm |  | 15mm |  | 35.2
[7 empty] | 32mm (1 1/4") | 42mm (1 1/2") | 22mm | 50mm | [7 empty] | 25mm (1") | 27.3 |  | 12 (?) | 10.8 | 14.2 | 50mm |  | 18mm |  | 44
[7 empty] | 40mm (1 1/2") | 54mm (2") | 28mm | 63mm | [7 empty] | 32mm (1 1/4") | 36 |  | 15mm (1/2") | 13.6 | 17.7 | 63mm |  | 22mm |  | 55.4
[7 empty] | 50mm (2") | 67mm (2 1/2") | 35mm | 75mm | [7 empty] | 40mm (1 1/2") | 41.9 |  | 22mm (3/4") | 20.22 | 22.5 | 75mm |  | 28mm |  | 66
[7 empty] | 65mm (2 1/2") | 76mm (3") |  | 90mm | [7 empty] | 50mm (2") | 53 |  | 28mm (1") | 26.22 | 28.3 | 90mm |  | 35mm |  | 79.2
[7 empty] | 80mm (3") | 108mm (4") |  | 110mm | [7 empty] | 65mm (2 1/2") | 68.7 |  | 35mm (1 1/4") | 32.63 |  | 110mm |  |  |  | 96.8
[7 empty] | 90mm (3 1/2") | 133mm (5") |  | 140mm | [7 empty] | 80mm (3") | 80.7 |  | 42mm (1 1/2") | 39.63 |  | 140mm |  |  |  | 123.4
[7 empty] | 100mm (4") | 160mm (6") |  | 160mm | [7 empty] | 90mm (3 1/2") | 93.15 |  | 54mm (2") | 51.63 |  | 160mm |  |  |  | 141
[7 empty] | 125mm (5") |  |  | 200mm | [7 empty] | 100mm (4") | 105.1 |  | 67mm (2 1/2") | 64.27 |  | 200mm |  |  |  | 175.4
[7 empty] | 150mm (6") |  |  | 225mm | [7 empty] | 125mm (5") | 129.95 |  | 76mm (3") | 73.22 |  | 225mm |  |  |  | 197.2
[7 empty] | 175mm (7") | [10 empty] | 150mm (6") | 155.4 |  | 108mm (4") | 105.12
[7 empty] | 200mm (8") | [10 empty] | 175mm (7") | 183 |  | 133mm (5") | 130.38
[7 empty] | 225mm (9") | [10 empty] | 200mm (8") | 207.3 |  | 160mm (6") | 155.38
[7 empty] | 250mm (10") | [10 empty] | 225mm (9") | 232.7
[7 empty] | 300mm (12") | [10 empty] | 250mm (10") | 260.4
[7 empty] | 350mm (14") | [10 empty] | 300mm (12") | 311.3
[7 empty] | 400mm (16") | [10 empty] | 350mm (14") | 341.4
[7 empty] | 450mm (18") | [10 empty] | 400mm (16") | 392.2
[7 empty] | 500mm (20") | [10 empty] | 450mm (18") | 441
[7 empty] | 550mm (22") | [10 empty] | 500mm (20") | 492
[7 empty] | 600mm (24") | [10 empty] | 550mm (22") | 541.4
[18 empty] | 600mm (24") | 592.4